| JOB SAFETY ANALYSIS | Job Task: Atmospheric Testing | Date: 3/9/10 | Analysis Performed By: Punxsutawney Borough |
| --- | --- | --- | --- |
| SEQUENCE OF BASIC JOB STEPS | POTENTIAL HAZARDS | RECOMMENDED ACTION OR PROCEDURE |
| 1. Bump test gas detection meters. | None |  |
| 2. Lower gas meter into confined space, listen For alarm on the meter. Check max readings on the meter. | Oxygen deficiency, explosive atmosphere | Ventilate with a fresh air blower and retest. |
| 3. If atmosphere checks out ok strap on the gas meter and enter the confined space. |  |  |
| 4. Also be sure that another operator is present during the confined space entry. |  |  |