| JOB SAFETY ANALYSIS | Job Task: Meter Changeout | Date: | Analysis Performed By: Borough of Middletown |
| --- | --- | --- | --- |
| SEQUENCE OF BASIC JOB STEPS | POTENTIAL HAZARDS | RECOMMENDED ACTION |
| 1. Remove cover from meter base. | ARC Flash Electrical Shock | Wear protective face shield Wear 1000V rubber gloves Wear long sleeve shirt |
| 2. Pull meter from meter base pulling down from the top. | ARC Flash |  |
| 3. Install new meter by putting load side of meter in first to line up jaws. | ARC Flash | Check with meter safe before installing meter Make sure jaws are lined up properly Make sure meter base is in good condition |
| 4. Push firmly on meter to properly seat it into meter base. | Meter Glass breaking | Do not beat on meter while installing |